{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["TabelaPrecosTEV2025N1"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":5,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"TabelaPrecosTEV2025N1","index":0,"n_rows":638,"n_cols":7,"rows_kept":638,"cut":false,"hidden":false,"merged":[[5,0,5,6],[399,5,399,6],[400,5,400,6]]}
[]
[]
["Procura rápida:"]
["",{"$f":"IFERROR(VLOOKUP($A$4,tabela,2,FALSE),\"\")","v":""},{"$f":"IFERROR(VLOOKUP($A$4,tabela,3,FALSE),\"\")","v":""},{"$f":"IFERROR(VLOOKUP($A$4,tabela,4,FALSE),\"\")","v":""},{"$f":"IFERROR(VLOOKUP($A$4,tabela,5,FALSE),\"\")","v":""},null,{"$f":"IFERROR(VLOOKUP($A$4,tabela,6,FALSE),\"\")","v":""}]
[]
["Tabela de Preços TEV 2025 - N1"]
["Ref.","Descrição","Código EAN","Emb.","GP","Status","PV (€)"]
["1BF100010Z","BARR FORQ 10 mm² 1000 mm 1P","5607353153602",40,"T2","ATIVO",11.44]
["1BF100012","BARR. FORQ. 12 mm² 1000 mm 1P","5607353012114",50,"T2","ATIVO",12.11]
["1BF100020","BARR. FORQ. 20 mm² 1000 mm 1P","5607353012398",50,"T2","ATIVO",19.7]
["1BP100010","BARR. PONT. 10 mm² 1000 mm 1P","5607353012183",50,"T2","ATIVO",11.69]
["1BP100010Z","BARR PONT 10 mm² 1000 mm 1P","5607353153596",40,"T2","ATIVO",9.8699999999999992]
["1BP100016","BARR. PONT. 16 mm² 1000 mm 1P","5607353012190",50,"T2","ATIVO",15.58]
["1BPF100010","BARR. PONT. FASE 10 mm² 1000 mm 1P","5607353020003",50,"T2","ATIVO",14.36]
["1BPF22410","BARR. PONT. FASE 10 mm² 224 mm 1P","5607353020027",25,"T2","ATIVO",4.43]
["1BPN100010","BARR. PONT. NEUTRO 10 mm² 1000 mm 1P","5607353020010",50,"T2","ATIVO",14.36]
["1BPN22410","BARR. PONT. NEUTRO 10 mm² 224 mm 1P","5607353020034",25,"T2","ATIVO",4.43]
["2002","QDR DIST SAL MINI S 2 MÓD BRC","5607353100477",1,"T2","ATIVO",2.69]
["2004","QDR DIST SAL MINI S 4 MÓD BRC","5607353100484",1,"T2","ATIVO",3.47]
["2008","QDR DIST SAL MINI S 8 MÓD BRC","5607353100491",1,"T2","ATIVO",5.8]
["2008SLN","LIGADOR 8 FUROS EM BASE NEUTRO","5607353100545",1,"T2","ATIVO",3.39]
["2008SLT","LIGADOR 8 FUROS EM BASE TERRA","5607353100507",1,"T2","ATIVO",3.39]
["2024","QDR DIST SAL MINI S 24 MÓD BRC","5607353100958",1,"T2","ATIVO",17.82]
["2BF100010","BARR. FORQ. 10 mm² 1000 mm 2P","5607353012107",20,"T2","ATIVO",22.44]
["2BF100016","BARR. FORQ. 16 mm² 1000 mm 2P","5607353012152",20,"T2","ATIVO",27.35]
["2BP100010","BARR. PONT. 10 mm² 1000 mm 2P","5607353012206",20,"T2","ATIVO",22.44]
["2BP100010Z","BARR. PONT. 10 mm² 1000 mm 2P","5607353160068",20,"T2","ATIVO",21.37]
["2BP100016","BARR. PONT. 16 mm² 1000 mm 2P","5607353012213",20,"T2","ATIVO",27.35]
["3BF100010","BARR. FORQ. 10 mm² 1000 mm 3P","5607353012121",20,"T2","ATIVO",28.33]
["3BF100010Z","BARR FORQ 10 mm² 1000 mm 3P","5607353153626",20,"T2","ATIVO",22.93]
["3BF100016","BARR. FORQ. 16mm² 1000 mm 3P","5607353012220",20,"T2","ATIVO",33.700000000000003]
["3BF21010","BARR. FORQ. 10 mm² 210 mm 3P","5607353012763",25,"T2","ATIVO",7.36]
["3BF21016","BARR. FORQ. 16 mm² 210 mm 3P","5607353012688",25,"T2","ATIVO",8.8000000000000007]
["3BP100010","BARR. PONT. 10 mm² 1000 mm 3P","5607353012237",20,"T2","ATIVO",28.05]
["3BP100010Z","BARR PONT 10 mm² 1000 mm 3P","5607353153619",20,"T2","ATIVO",25.47]
["3BP100016","BARR. PONT. 16 mm² 1000 mm 3P","5607353012244",20,"T2","ATIVO",33.700000000000003]
["3BP21010","BARR. PONT. 10 mm² 210 mm 3P","5607353013524",25,"T2","ATIVO",7.35]
["3BP21016","BARR. PONT. 16 mm² 210 mm 3P","5607353013531",25,"T2","ATIVO",8.8000000000000007]
["4BF100016","BARR. FORQ. 16 mm² 1000 mm 4P","5607353012176",15,"T2","ATIVO",48.08]
["4BFN100010","BARR. FORQ. BIP. EQUIL. 3 FASES 10 mm² 1000 mm","5607353025510",15,"T2","ATIVO",41.85]
["4BFN100016","BARR. FORQ. BIP. EQUIL. 3 FASES 16 mm² 1000 mm","5607353025497",15,"T2","ATIVO",54.52]
["4BP100016","BARR. PONT. 16 mm² 1000 mm 4P","5607353012251",15,"T2","ATIVO",48.08]
["4BP100016Z","BARR. PONT. 16 mm² 1000 mm 4P","5607353160075",10,"T2","ATIVO",48.08]
["4BPN100010","BARR. PONT. BIP. EQUIL. 3 FASES 10 mm² 1000 mm","5607353025527",15,"T2","ATIVO",43.11]
["4BPN100016","BARR. PONT. BIP. EQUIL. 3 FASES 16 mm² 1000 mm","5607353025503",15,"T2","ATIVO",52.99]
["56100","CAIXA APLIQUE BRC","5607353012787",20,"T2","ATIVO",0.14199999999999999]
["56100P","CAIXA APLIQUE PAREDES OCAS VRD","5607353012879",20,"T2","ATIVO",1.079]
["56100PTMP","TAMPA P/ CAIXA 56100P","5607353012916",10,"T2","ATIVO",0.4]
["56100TMP","TAMPA P/ CAIXA 56100","5607353012831",10,"T2","ATIVO",0.17399999999999999]
["56101","CAIXA APARELHAGEM AGRUPAVEL SIMPLES BRC","5607353012794",20,"T2","ATIVO",0.19]
["56101I1TMP","TAMPA REDONDA PARA CAIXA I1","5607353096961",1,"T2","ATIVO",0.49]
["56101P","CAIXA APARELHAGEM SIMPLES REDUZIDA PAREDES OCAS VRD","5607353012886",20,"T2","ATIVO",1.153]
["56101PL","CAIXA APARELHAGEM SIMPLES PAREDES OCAS","5607353100552",1,"T2","SOB CONSULTA",1.31]
["56101PTMP","TAMPA P/ CAIXA 56101P","5607353012923",10,"T2","ATIVO",0.436]
["56101TMP","TAMPA P/ CAIXA 56101","5607353012824",10,"T2","ATIVO",0.23100000000000001]
["56102","CAIXA APARELHAGEM AGRUPÁVEL FUNDA BRC","5607353012800",20,"T2","ATIVO",0.25800000000000001]
["56102P","CAIXA APARELHAGEM FUNDA PAREDES OCAS VRD","5607353012893",20,"T2","ATIVO",1.268]
["56103","CAIXA APARELHAGEM AGRUPÁVEL QUADRADA C/ TAMPA BRC","5607353012817",10,"T2","ATIVO",0.66300000000000003]
["56103I2TMP","TAMPA QUADRADA PARA CAIXA I2 (ITED2)","5607353096978",1,"T2","ATIVO",0.56000000000000005]
["56103P","CAIXA APARELHAGEM QUADRADA C/ TAMPA PAREDES OCAS VRD","5607353012909",10,"T2","ATIVO",3.88]
["56103PTMP","TAMPA P/ CAIXA 56103P","5607353012930",10,"T2","ATIVO",0.92700000000000005]
["56103TMP","TAMPA P/ CAIXA 56103","5607353012848",10,"T2","ATIVO",0.33800000000000002]
["56123TMP","TAMPA DUPLA","5607353012855",10,"T2","ATIVO",0.83199999999999996]
["56133TMP","TAMPA TRIPLA","5607353012862",10,"T2","ATIVO",1.002]
["56200","CAIXA DERIVAÇÃO EMB 56200 BRC","5607353001392",1,"T2","ATIVO",4.9400000000000004]
["56200T","CAIXA MEDIÇÃO TERRA EMB BRC","5607353003822",1,"T2","ATIVO",5.55]
["56200T160A","CAIXA MEDIÇÃO TERRA EMB 160A BRC","5607353005734",1,"T2","ATIVO",7.79]
["56200T5","CAIXA MEDIÇÃO TERRA EMB 125A ATÉ 5 SAÍDAS BRC","5607353015672",1,"T2","ATIVO",10.69]
["56200T5+5","CAIXA MEDICAO TERRA 5 ENTRADAS + 5 SAIDAS BRC","5607353087549",1,"T2","ATIVO",12.84]
["56200TMP","TAMPA P/ CX 56200","5607353007059",1,"T2","ATIVO",1.95]
["56300","CAIXA DERIVAÇÃO EMB 56300 BRC","5607353006083",1,"T2","ATIVO",6.14]
["56300TMP","TAMPA P/ CX 56300","5607353007493",1,"T2","ATIVO",3.18]
["56400","CAIXA DERIVAÇÃO EMB 56400 BRC","5607353001385",1,"T2","ATIVO",7.54]
["56400TMP","TAMPA P/ CX 56400","5607353003068",1,"T2","ATIVO",4.79]
["56UNI","UNIAO P/ AGRUPAGEM CAIXAS 56101P/56102P SACO DE 10 UN.","5607353096794",10,"T2","ATIVO",1.0820000000000001]
["60006","MASCARA CINZENTA","5607353000418",100,"T2","ATIVO",0.69299999999999995]
["60007","MASCARA BRANCA","5607353002771",100,"T2","ATIVO",0.69299999999999995]
["AS25GN","BORNE LIGAÇAO FORQUILHA 25mm²","5607353013548",30,"T2","ATIVO",1.91]
["AS25SN","BORNE LIGACAO PONT. 25mm²","5607353013555",30,"T2","ATIVO",1.91]
["AS35SN","BORNE LIGAÇAO PONT. 35mm²","5607353013579",12,"T2","ATIVO",3.51]
["BL12F","BARRAMENTO CALHA DIN 63A 12x2.5-15mm² CASTANHO","5607353180622",1,"T2","NOVO",3.18]
["BL12N","BARRAMENTO CALHA DIN 63A 12x2.5-15mm² AZUL","5607353180615",1,"T2","NOVO",3.18]
["BL12T","BARRAMENTO CALHA DIN 63A 12x2.5-15mm² AMARELO/VERDE","5607353180639",1,"T2","NOVO",3.18]
["BL14F","BARR LATAO 14x10 FASE","5607353002535",10,"T2","ATIVO",4]
["BL14N","BARR LATAO 14x10 NEUTRO","5607353002542",10,"T2","ATIVO",4]
["BL14T","BARR LATAO 14x10 TERRA","5607353002559",10,"T2","ATIVO",4]
["BL15F","BARRAMENTO CALHA DIN 63A 15x2.5-15mm² CASTANHO","5607353180653",1,"T2","NOVO",3.78]
["BL15N","BARRAMENTO CALHA DIN 63A 15x2.5-15mm² AZUL","5607353180646",1,"T2","NOVO",3.78]
["BL15T","BARRAMENTO CALHA DIN 63A 15x2.5-15mm² AMARELO/VERDE","5607353180660",1,"T2","NOVO",3.78]
["BL28F","BARR LATAO 28x10 FASE","5607353002566",10,"T2","ATIVO",9.02]
["BL28N","BARR LATAO 28x10 NEUTRO","5607353002573",10,"T2","ATIVO",9.02]
["BL28T","BARR LATAO 28x10 TERRA","5607353002580",10,"T2","ATIVO",9.02]
["BL7F","BARRAMENTO CALHA DIN 63A 7x2.5-15mm² CASTANHO","5607353180592",1,"T2","NOVO",2.1800000000000002]
["BL7N","BARRAMENTO CALHA DIN 63A 7x2.5-15mm² AZUL","5607353180585",1,"T2","NOVO",2.1800000000000002]
["BL7T","BARRAMENTO CALHA DIN 63A 7x2.5-15mm² AMARELO/VERDE","5607353180608",1,"T2","NOVO",2.1800000000000002]
["BL8F","BARR LATAO 8x10 FASE","5607353002504",10,"T2","ATIVO",3.11]
["BL8N","BARR LATAO 8x10 NEUTRO","5607353002511",10,"T2","ATIVO",3.11]
["BL8T","BARR LATAO 8x10 TERRA","5607353002528",10,"T2","ATIVO",3.11]
["BM100","BARR ESCADA 100A 4P","5607353002641",10,"T2","ATIVO",21.69]
["BM125","BARR ESCADA 125A 4P","5607353002665",10,"T2","ATIVO",39.75]
["BM160","BARR ESCADA 160A 4P","5607353001583",10,"T2","ATIVO",25.08]
["BM2P100","BARR ESCADA 100A 2P","5607353003761",10,"T2","ATIVO",19.61]
["BM2P125","BARR ESCADA 125A 2P","5607353003808",10,"T2","ATIVO",35.85]
["BM2P160","BARR ESCADA 160A 2P","5607353002481",10,"T2","ATIVO",20.53]
["BM2P63","BARR ESCADA 63A 2 P","5607353003754",10,"T2","ATIVO",10.63]
["BM63","BARR ESCADA 63A 4P","5607353001590",10,"T2","ATIVO",14.75]
["BSL8N","BASE NEUTRO C/ LIGADOR P/ QUADRO","5607353103652",1,"T2","ATIVO",2.98]
["BSL8T","BASE TERRA C/ LIGADOR P/ QUADRO","5607353103669",1,"T2","ATIVO",2.98]
["CBC","COBERTURA DE CABOS","5607353008070",1,"T2","ATIVO",2.5]
["CDIN","CALHA DIN","5607353001033",1,"T2","ATIVO",5.62]
["CXH20","ARO CX H20","5607353004201",1,"T2","ATIVO",10.119999999999999]
["E 112","QDR DIST EMB PT OPC 1F 14M BRC","5607353136452",1,"T2","ATIVO",30]
["E 112A","ARO P/ QUADRO E 112","5607353136643",1,"T2","ATIVO",8.26]
["E 112CHS","CHASSI P/ E 112","5607353136797",1,"T2","ATIVO",1.8]
["E 112P","QDR DIST EMB PT OPC 1F 14M PAREDES OCAS BRC","5607353136544",1,"T2","ATIVO",42.38]
["E 112PM","PORTA METÁLICA C/ FECHO ROTATIVO","5607353136629",1,"T2","ATIVO",21.55]
["E 112PN","PAINEL P/ QDR E 112","5607353136650",1,"T2","ATIVO",8.26]
["E 112PO","PORTA OPACA P/ QDR E 112","5607353136605",1,"T2","ATIVO",7.9]
["E 112PRF","KIT PARAFUSOS METÁLICOS (8+4)","5607353136803",1,"T2","ATIVO",3.92]
["E 112PT","PORTA TRANSPARENTE P/ QDR E 112","5607353136612",1,"T2","ATIVO",11.49]
["E 224","QDR DIST EMB PT OPC 2F 28M BRC","5607353112715",1,"T2","ATIVO",41.55]
["E 224A","ARO P/ QUADRO E 224","5607353114252",1,"T2","ATIVO",9.15]
["E 224CHS","CHASSI","5607353114276",1,"T2","ATIVO",11.72]
["E 224P","QDR DIST EMB PT OPC 2F 28M PAREDES OCAS BRC","5607353114177",1,"T2","ATIVO",64.27]
["E 224PM","PORTA METÁLICA C/ FECHO ROTATIVO","5607353114238",1,"T2","ATIVO",31.78]
["E 224PMFCDPA","PORTA+ARO METALICA COM FECHADURA COM CHAVE","5607353114702",1,"T2","ATIVO",60.99]
["E 224PN","PAINEL P/ QDR E 224","5607353114269",1,"T2","ATIVO",9.15]
["E 224PO","PORTA OPACA P/ QDR E 224","5607353114214",1,"T2","ATIVO",11.31]
["E 224PRF","KIT PARAFUSOS METÁLICOS (4+4)","5607353114351",1,"T2","ATIVO",3.66]
["E 224PT","PORTA TRANSPARENTE P/ QDR E 224","5607353114221",1,"T2","ATIVO",18.670000000000002]
["E 336","QDR DIST EMB PT OPC 3F 42M BRC","5607353136469",1,"T2","ATIVO",63.25]
["E 336A","ARO P/ QUADRO E 336","5607353136766",1,"T2","ATIVO",11.14]
["E 336CHS","CHASSI P/ E 336","5607353136780",1,"T2","ATIVO",16.16]
["E 336P","QDR DIST EMB PT OPC 3F 42M PAREDES OCAS BRC","5607353136667",1,"T2","ATIVO",94.81]
["E 336PM","PORTA METÁLICA C/ FECHO ROTATIVO","5607353136742",1,"T2","ATIVO",32.68]
["E 336PN","PAINEL P/ QDR E 336","5607353136773",1,"T2","ATIVO",11.14]
["E 336PO","PORTA OPACA P/ QDR E 336","5607353136728",1,"T2","ATIVO",30.17]
["E 336PRF","KIT PARAFUSOS METÁLICOS (8+8)","5607353136810",1,"T2","ATIVO",4.67]
["E 336PT","PORTA TRANSPARENTE P/ QDR E 336","5607353136735",1,"T2","ATIVO",39.51]
["E108","QDR DIST EMB. IP40 PT. OPC 1F 8M BRC","5607353001606",1,"T2","ATIVO",19.29]
["E118","QDR DIST EMB. IP30 PT. OPC 3F 18M BRC","5607353001637",1,"T2","ATIVO",31.18]
["E234D","QDR DIST DIF EDP EMB IP40 PT OPC 2F 34M BRC","5607353001019",1,"T2","ATIVO",43.29]
["E234DPA","CONJUNTO PORTA + ARO P/ QDR E234D","5607353007028",1,"T2","ATIVO",19.38]
["EAFX","KIT APOIO SUPORTE LIGADORES FIXCONNECT","5607353114306",1,"T2","ATIVO",4.4000000000000004]
["EAPS","KIT APOIO SUPORTE LIGADORES PS","5607353114313",1,"T2","ATIVO",3.28]
["EBCC","ENTRADA CABOS/CALHA","5607353114283",1,"T2","ATIVO",3.66]
["EBCT","ENTRADA CABOS/TUBO","5607353114290",1,"T2","ATIVO",3.66]
["EDBR","DOBRADIÇAS P/ PORTA PLÁSTICA","5607353114375",1,"T2","ATIVO",1.08]
["EDBRM","DOBRADIÇAS P/ PORTA METÁLICA","5607353114368",1,"T2","ATIVO",1.08]
["EFC","KIT FECHADURA + 2 CHAVES P/ PORTA PLÁSTICA","5607353114320",1,"T2","ATIVO",22.3]
["EFC12","CONJUNTO APOIO + 1 LIGADOR TN C/ SUPORTE","5607353136919",1,"T2","ATIVO",21.09]
["EFC24","CONJUNTO APOIO + 2 LIGADORES RÁPIDOS C/ SUPORTE","5607353114719",1,"T2","ATIVO",39.130000000000003]
["EFCM","FECHADURA C/ CHAVE P/ PORTA METÁLICA","5607353114337",1,"T2","ATIVO",18.27]
["EFR","FECHO ROTATIVO","5607353114344",1,"T2","ATIVO",4.0199999999999996]
["EKC1","CAPA BARR. 1P","5607353013586",10,"T2","ATIVO",0.43]
["EKC1F","TOPO BARRAMENTO FASE","5607353041565",10,"T2","ATIVO",0.46]
["EKC1L","CAPA BARR 1P","5607353153633",25,"T2","ATIVO",0.41]
["EKC1N","TOPO BARRAMENTO NEUTRO","5607353041558",10,"T2","ATIVO",0.46]
["EKC2","CAPA BARR. 2P","5607353013593",10,"T2","ATIVO",0.43]
["EKC23","CAPA BARR. 2P+3P","5607353013609",10,"T2","ATIVO",0.43]
["EKC2Z","CAPA BARR 2P","5607353160082",25,"T2","ATIVO",0.41]
["EKC3","CAPA BARR. 3P","5607353013616",10,"T2","ATIVO",0.43]
["EKC3N","CAPA BARR FORQ 3P","5607353153657",25,"T2","ATIVO",0.41]
["EKC3Z","CAPA BARR 3P","5607353153640",25,"T2","ATIVO",0.41]
["EKC4","CAPA BARR. 4P","5607353013623",10,"T2","ATIVO",0.47]
["EKC4Z","CAPA BARR 4P","5607353160099",25,"T2","ATIVO",0.45]
["EKC5","TAMPA PROTECÇÃO P/ ESPAÇOS N/ UTILIZADOS","5607353019052",10,"T2","ATIVO",1.22]
["EM 112","QDR DIST EMB PT MET 1F 14M BRC","5607353136568",1,"T2","ATIVO",48.82]
["EM 112P","QDR DIST EMB PT MET 1F 14M PAREDES OCAS BRC","5607353136582",1,"T2","ATIVO",58.09]
["EM 224","QDR DIST EMB PT MET 2F 28M BRC","5607353114153",1,"T2","ATIVO",62.05]
["EM 224P","QDR DIST EMB PT MET 2F 28M PAREDES OCAS BRC","5607353114191",1,"T2","ATIVO",82.25]
["EM 336","QDR DIST EMB PT MET 1F 42M BRC","5607353136681",1,"T2","ATIVO",67.989999999999995]
["EM 336P","QDR DIST EMB PT MET 1F 42M PAREDES OCAS BRC","5607353136704",1,"T2","ATIVO",94.5]
["ERFC","REGUA INTERIOR P/ FIXAÇÃO CABOS","5607353114436",1,"T2","ATIVO",10.97]
["ESL","ESPACADOR SL","5607353173877",1,"T2","ATIVO",0.31]
["ET 112","QDR DIST EMB PT TRP 1F 14M BRC","5607353136476",1,"T2","ATIVO",34.11]
["ET 112P","QDR DIST EMB PT TPT 1F 14M PAREDES OCAS BRC","5607353136551",1,"T2","ATIVO",45.97]
["ET 224","QDR DIST EMB PT TRP 2F 28M BRC","5607353112722",1,"T2","ATIVO",52.9]
["ET 224P","QDR DIST EMB PT TPT 2F 28M PAREDES OCAS BRC","5607353114184",1,"T2","ATIVO",71.569999999999993]
["ET 336","QDR DIST EMB PT TRP 1F 42M BRC","5607353136483",1,"T2","ATIVO",76.86]
["ET 336P","QDR DIST EMB PT TPT 3F 42M PAREDES OCAS BRC","5607353136674",1,"T2","ATIVO",104.15]
["ET108","QDR DIST EMB. IP40 PT. TRP 1F 8M BRC","5607353001712",1,"T2","ATIVO",23.29]
["ET118","QDR DIST EMB. IP40 PT. TRP 3F 18M BRC","5607353003235",1,"T2","ATIVO",36.79]
["ETI14","ETIQUETA CIRCUITOS P/ PAINEL","5607353114429",1,"T2","ATIVO",1.08]
["ETI28","ETIQUETA CIRCUITOS P/ PORTA","5607353114412",1,"T2","ATIVO",2.21]
["EUNF","KIT FIXAÇÃO À PAREDE","5607353114405",1,"T2","ATIVO",7.31]
["EUNIL","KIT UNIÃO LATERAL","5607353114382",1,"T2","ATIVO",7.24]
["EUNIT","KIT UNIÃO TOPO","5607353114399",1,"T2","ATIVO",18.09]
["I56200","CX C/ TAMPA CEGA TELECOMUNICAÇÕES","5607353137251",1,"T2","ATIVO",5.17]
["I56200TMP","TAMPA P/ CAIXA I56200","5607353138593",1,"T2","ATIVO",2.0299999999999998]
["I56300","CX C/ TAMPA CEGA TELECOMUNICAÇÕES","5607353137268",1,"T2","ATIVO",6.39]
["I56300TMP","TAMPA P/ CAIXA I56300","5607353138609",1,"T2","ATIVO",3.77]
["I56400","CX C/ TAMPA CEGA TELECOMUNICAÇÕES","5607353137275",1,"T2","ATIVO",7.35]
["I56400TMP","TAMPA P/ CAIXA I56400","5607353137305",1,"T2","ATIVO",4.51]
["IADUTP","ALICATE DESCARNADOR UTP","5607353138616",1,"T2","ATIVO",3.95]
["IAFC","ALICATE F COMPRESSÃO","5607353138623",1,"T2","ATIVO",13.95]
["IAFCF","ALICATE F COMPRESSÃO FRONTAL","5607353138630",1,"T2","ATIVO",25.25]
["IAFF","AUMENTO FICHA F","5607353138647",1,"T2","ATIVO",0.65]
["IAPC","ALICATE PAR DE COBRE/KRONE","5607353138654",1,"T2","ATIVO",7.59]
["IATF468P","ALICATE TRIPLO P/ FICHA 4P 6P 8P","5607353138661",1,"T2","ATIVO",40.46]
["IC","CARGA 75 OHM","5607353138685",1,"T2","ATIVO",0.1066]
["IDPC","DESCARNADOR PRO COAXIAL","5607353138708",1,"T2","ATIVO",6.69]
["IEAPO","ARO PORTA PLATINE P/ IECX","5607353137923",1,"T2","ATIVO",63.44]
["IECX","FUNDO PRE-INSTALAÇÃO KITS ATI GAMA E","5607353137916",1,"T2","ATIVO",24.96]
["IEDR12PC12CC.KIT","ATI GAMA E REG SAÍDAS 2REP 12PC 12CC 2FO BRC","5607353137824",1,"T2","ATIVO",245.83]
["IEDR12PC8CC.KIT","ATI GAMA E REG SAÍDAS 2REP 12PC 8CC 2FO BRC","5607353137817",1,"T2","ATIVO",176.61]
["IEDR4PC4CC.KIT","ATI GAMA E REG SAÍDAS 2REP 4PC 4CC 2FO BRC","5607353139002",1,"T2","ATIVO",142.18]
["IEDR6PC4CC.KIT","ATI GAMA E REG SAÍDAS 2REP 6PC 4CC 2FO BRC","5607353137787",1,"T2","ATIVO",147.29]
["IEDR6PC6CC.KIT","ATI GAMA E REG SAÍDAS 2REP 6PC 6CC 2FO BRC","5607353137794",1,"T2","ATIVO",153.43]
["IEDR8PC6CC.KIT","ATI GAMA E REG SAÍDAS 2REP 8PC 6CC 2FO BRC","5607353137800",1,"T2","ATIVO",158.55000000000001]
["IEDR8PC8CC.KIT","ATI GAMA E REG SAÍDAS 2REP 8PC 8CC 2FO BRC","5607353138456",1,"T2","ATIVO",166.05]
["IEGS","GAVETA SUPORTE ATI GAMA E","5607353137909",1,"T2","ATIVO",8.56]
["IEPL","PLATINE ATI GAMA E","5607353137893",1,"T2","ATIVO",16.37]
["IER12PC12CC.KIT","ATI GAMA E REG SAÍDAS 1REP 12PC 12CC 2FO BRC","5607353137886",1,"T2","ATIVO",195.03]
["IER12PC8CC.KIT","ATI GAMA E REG SAÍDAS 1REP 12PC 8CC 2FO BRC","5607353137879",1,"T2","ATIVO",153.77000000000001]
["IER4PC4CC.KIT","ATI GAMA E REG SAÍDAS 1REP 4PC 4CC 2FO BRC","5607353138999",1,"T2","ATIVO",117.97]
["IER6PC4CC.KIT","ATI GAMA E REG SAÍDAS 1REP 6PC 4CC 2FO BRC","5607353137831",1,"T2","ATIVO",123.08]
["IER6PC6CC.KIT","ATI GAMA E REG SAÍDAS 1REP 6PC 6CC 2FO BRC","5607353137848",1,"T2","ATIVO",133.31]
["IER8PC6CC.KIT","ATI GAMA E REG SAÍDAS 1REP 8PC 6CC 2FO BRC","5607353137855",1,"T2","ATIVO",138.43]
["IER8PC8CC.KIT","ATI GAMA E REG SAÍDAS 1REP 8PC 8CC 2FO BRC","5607353137862",1,"T2","ATIVO",143.54]
["IERC12CC","PAINEL ATI GAMA E 12 SAIDAS CC 2FO","5607353137961",1,"T2","ATIVO",147.97]
["IERC16CC","PAINEL ATI GAMA E 16 SAIDAS CC 2FO","5607353137978",1,"T2","ATIVO",163.32]
["IERC4CC","PAINEL ATI GAMA E 4 SAIDAS CC 2FO","5607353137930",1,"T2","ATIVO",71.260000000000005]
["IERC6CC","PAINEL ATI GAMA E 6 SAIDAS CC 2FO","5607353137947",1,"T2","ATIVO",76.37]
["IERC8CC","PAINEL ATI GAMA E 8 SAIDAS CC 2FO","5607353137954",1,"T2","ATIVO",83.19]
["IFCAF","FICHA DE COMPRESSAO ANGULAR TIPO F","5607353138715",1,"T2","ATIVO",1.0186999999999999]
["IFCAFR","FICHA DE COMPRESSAO ANGULAR TIPO F ROSCADA","5607353138722",1,"T2","ATIVO",1.1205000000000001]
["IFCF","FICHA DE COMPRESSAO RG6 TIPO F MACHO CURTA","5607353138739",1,"T2","ATIVO",0.66249999999999998]
["IFCH02","PATCH CORD FIBRA LSZH SCAP 2 MTS","5607353163373",1,"T2","ATIVO",6.41]
["IFCH05","PATCH CORD FIBRA LSZH SCAP 5 MTS","5607353163380",1,"T2","ATIVO",7.6]
["IFCH08","PATCH CORD FIBRA LSZH SCAP 8 MTS","5607353163397",1,"T2","ATIVO",8.94]
["IFCH10","PATCH CORD FIBRA LSZH SCAP 10 MTS","5607353163403",1,"T2","ATIVO",9.69]
["IFCH13","PATCH CORD FIBRA LSZH SCAP 13 MTS","5607353163410",1,"T2","ATIVO",11.03]
["IFCH15","PATCH CORD FIBRA LSZH SCAP 15 MTS","5607353163427",1,"T2","ATIVO",11.78]
["IFCH20","PATCH CORD FIBRA LSZH SCAP 20 MTS","5607353163434",1,"T2","ATIVO",13.86]
["IFCH25","PATCH CORD FIBRA LSZH SCAP 25 MTS","5607353163441",1,"T2","ATIVO",15.95]
["IFCH30","PATCH CORD FIBRA LSZH SCAP 30 MTS","5607353163458",1,"T2","ATIVO",18.04]
["IFCH35","PATCH CORD FIBRA LSZH SCAP 35 MTS","5607353170241",1,"T2","ATIVO",19.8]
["IFCH40","PATCH CORD FIBRA LSZH SCAP 40 MTS","5607353170258",1,"T2","ATIVO",21.86]
["IFCH45","PATCH CORD FIBRA LSZH SCAP 45 MTS","5607353170265",1,"T2","ATIVO",23.91]
["IFCH50","PATCH CORD FIBRA LSZH SCAP 50 MTS","5607353170272",1,"T2","ATIVO",25.96]
["IFCRG6FF","FICHA COMPRESSÃO RG6 TIPO F FEMEA","5607353138746",1,"T2","SOB CONSULTA",1.1100000000000001]
["IFF","UNIAO TIPO F/F","5607353138753",1,"T2","ATIVO",0.2893]
["IFOSC1SCJ","ADAPTADOR FO SC/APC SIMPLES C/ JANELA","5607353138777",1,"T2","ATIVO",1.22]
["IFOSC2SCJ","ADAPTADOR FO SC/APC DUPLO C/ JANELA","5607353138814",1,"T2","ATIVO",1.91]
["IM2APO","ARO PORTA PLATINE SEPARADOR SUP LAT IM2CX","5607353137725",1,"T2","ATIVO",103.66]
["IM2AT","CX VAZIA MEGA M2 EMBUTIR P/ ELEMENTOS ACTIVOS BRC","5607353138821",1,"T2","ATIVO",62.56]
["IM2CX","FUNDO PRE-INSTALAÇÃO KITS ATI GAMA MEGA M2","5607353137695",1,"T2","ATIVO",27.57]
["IM2L4PC4CC.KIT","ATI M2 LC EMB 4PC 4CC 2FO BRC","5607353171729",1,"T2","ATIVO",151.51]
["IM2L6PC6CC.KIT","ATI M2 LC EMB 6PC 6CC 2FO BRC","5607353171736",1,"T2","ATIVO",163.41999999999999]
["IM2L8PC8CC.KIT","ATI M2 LC EMB 8PC 8CC 2FO BRC","5607353171743",1,"T2","ATIVO",171.06]
["IM2R12PC12CC.KIT","ATI M2 EMB REG P/ SAÍDAS 12PC 12CC 2FO BRC","5607353137503",1,"T2","ATIVO",267.72000000000003]
["IM2R12PC8CC.KIT","ATI M2 EMB REG P/ SAÍDAS 12PC 8CC 2FO BRC","5607353137497",1,"T2","ATIVO",232.11]
["IM2R4PC4CC.KIT","ATI M2 EMB REG P/ SAÍDAS 4PC 4CC 2FO BRC","5607353138975",1,"T2","ATIVO",194.62]
["IM2R6PC4CC.KIT","ATI M2 EMB REG P/ SAÍDAS 6PC 4CC 2FO BRC","5607353137466",1,"T2","ATIVO",200.21]
["IM2R6PC6CC.KIT","ATI M2 EMB REG P/ SAÍDAS 6PC 6CC 2FO BRC","5607353137473",1,"T2","ATIVO",206.64]
["IM2R8PC8CC.KIT","ATI M2 EMB REG P/ SAÍDAS 8PC 8CC 2FO BRC","5607353137480",1,"T2","ATIVO",219.81]
["IM3APO","ARO PORTA PLATINE SEPARADOR SUP LAT IM3CX","5607353137732",1,"T2","ATIVO",111.62]
["IM3AT","CX VAZIA MEGA M3 EMBUTIR P/ ELEMENTOS ACTIVOS BRC","5607353138838",1,"T2","ATIVO",82.61]
["IM3CX","FUNDO PRE-INSTALAÇÃO KITS ATI GAMA MEGA M3","5607353137701",1,"T2","ATIVO",36.049999999999997]
["IM3R12PC12CC.KIT","ATI M3 EMB REG P/ SAÍDAS 12PC 12CC 2FO BRC","5607353137534",1,"T2","ATIVO",279.52]
["IM3R12PC8CC.KIT","ATI M3 EMB REG P/ SAÍDAS 12PC 8CC 2FO BRC","5607353139040",1,"T2","ATIVO",244.02]
["IM3R16PC16CC.KIT","ATI M3 EMB REG P/ SAÍDAS 16PC 16CC 2FO BRC","5607353137541",1,"T2","ATIVO",375.56]
["IM3R24PC24CC.KIT","ATI M3 EMB REG P/ SAÍDAS 24PC 24CC 2FO BRC","5607353137558",1,"T2","ATIVO",472.3]
["IM3R6PC6CC.KIT","ATI M3 EMB REG P/ SAÍDAS 6PC 6CC 2FO BRC","5607353137510",1,"T2","ATIVO",218.63]
["IM3R8PC8CC.KIT","ATI M3 EMB REG P/ SAÍDAS 8PC 8CC 2FO BRC","5607353137527",1,"T2","ATIVO",231.74]
["IM4APO","ARO PORTA PLATINE SEPARADOR SUP LAT IM4CX","5607353137749",1,"T2","ATIVO",135.56]
["IM4AT","CX VAZIA MEGA M4 EMBUTIR P/ ELEMENTOS ACTIVOS BRC","5607353138845",1,"T2","ATIVO",102.75]
["IM4CX","FUNDO PRE-INSTALAÇÃO KITS ATI GAMA MEGA M4","5607353137718",1,"T2","ATIVO",56.7]
["IM4R12PC12CC.KIT","ATI M4 EMB REG P/ SAÍDAS 12PC 12CC 2FO BRC","5607353140138",1,"T2","SOB CONSULTA",294.39999999999998]
["IM4R12PC8CC.KIT","ATI M4 EMB REG P/ SAÍDAS 12PC 8CC 2FO BRC","5607353140121",1,"T2","SOB CONSULTA",258.77999999999997]
["IM4R16PC16CC.KIT","ATI M4 EMB REG P/ SAÍDAS 16PC 16CC 2FO BRC","5607353140145",1,"T2","SOB CONSULTA",390.14]
["IM4R24PC24CC.KIT","ATI M4 EMB REG P/ SAÍDAS 24PC 24CC 2FO BRC","5607353140176",1,"T2","SOB CONSULTA",486.96]
["IMATERGCC12","PAINEL ATE RGCC 12 SAIDAS","5607353138166",1,"T2","ATIVO",94.4]
["IMATERGCC4","PAINEL ATE RGCC 4 SAIDAS","5607353138135",1,"T2","ATIVO",63.59]
["IMATERGCC6","PAINEL ATE RGCC 6 SAIDAS","5607353138142",1,"T2","ATIVO",73.88]
["IMATERGCC8","PAINEL ATE RGCC 8 SAIDAS","5607353138159",1,"T2","ATIVO",77.98]
["IMGS","GAVETA SUPORTE ATI GAMA MEGA","5607353137688",1,"T2","ATIVO",10.7]
["IMPCS4APN","PAINEL VAZIO IMPCS 4 AREAS","5607353138319",1,"T2","ATIVO",13.81]
["IMPCSR6APN","PAINEL VAZIO IMPCS >6 AREAS","5607353138326",1,"T2","ATIVO",13.81]
["IMPL","PLATINE ATI GAMA MEGA","5607353137572",1,"T2","ATIVO",19.47]
["IMPNES","PAINEL TAMPA CEGA","5607353138128",1,"T2","ATIVO",12.98]
["IMPNFF","PAINEL ATI GAMA MEGA VAZIO MAX 12 FICHAS TIPO F/F","5607353137602",1,"T2","ATIVO",13.5]
["IMPNFO","PAINEL ATI GAMA MEGA VAZIO MAX 12 ADPT FO","5607353137626",1,"T2","ATIVO",13.5]
["IMPNRCV","PAINEL VAZIO PARA 4RJ+4FF+4FO","5607353138852",1,"T2","ATIVO",13.5]
["IMPNRJ","PAINEL ATI GAMA MEGA VAZIO MAX 12 CNT RJ45","5607353137619",1,"T2","ATIVO",13.5]
["IMRCCC12","PAINEL P/ RC-CC 12S","5607353137671",1,"T2","ATIVO",143.16]
["IMRCCC4","PAINEL P/ RC-CC 4S","5607353137640",1,"T2","ATIVO",80.010000000000005]
["IMRCCC6","PAINEL P/ RC-CC 6S","5607353137657",1,"T2","ATIVO",92.64]
["IMRCCC8","PAINEL P/ RC-CC 8S","5607353137664",1,"T2","ATIVO",96.84]
["IMRCPCV","PAINEL VAZIO ATI RC-PC 12 SAIDAS","5607353137633",1,"T2","ATIVO",13.5]
["IMSP","SEPARADOR ATI GAMA MEGA","5607353137565",1,"T2","ATIVO",20.65]
["IMSPL2","SUPORTES LATERAIS ATI GAMA MEGA M2 (2 UN)","5607353137589",1,"T2","ATIVO",25.22]
["IMSPL3","SUPORTES LATERAIS ATI GAMA MEGA M3 (2 UN)","5607353137596",1,"T2","ATIVO",33.69]
["IMV0CC","CAIXA TELECOMUNICAÇÕES TIPO C1 EMB","5607353138296",1,"T2","ATIVO",59.72]
["IMV1ATE","CAIXA ATE SUPERIOR V1 EMB FECH RITA","5607353138012",1,"T2","ATIVO",75.91]
["IMV1ATEPL","PLATINE ATE V1","5607353138050",1,"T2","ATIVO",22.24]
["IMV1CC","CAIXA COLUNA TIPO C2 EMB","5607353138302",1,"T2","ATIVO",67.38]
["IMV2ATE","CAIXA ATE V2 EMB FECH RITA","5607353138029",1,"T2","ATIVO",104.51]
["IMV2ATEPL","PLATINE ATE V2","5607353138067",1,"T2","ATIVO",28.79]
["IMV3ATE","CAIXA ATE V3 EMB FECH RITA","5607353138036",1,"T2","ATIVO",163.72999999999999]
["IMV3ATEPL","PLATINE ATE V3","5607353138074",1,"T2","ATIVO",35.46]
["IMV4ATE","CAIXA ATE V4 EMB FECH RITA","5607353138043",1,"T2","ATIVO",180.73]
["IMV4ATEPL","PLATINE ATE V4","5607353138081",1,"T2","ATIVO",44.32]
["IMV5ATEPL","PLATINE ATE V5","5607353138098",1,"T2","ATIVO",53.18]
["IMVATESPRG3","SUPORTE RG PAINEIS RC-PC CC FO (2un)","5607353138104",1,"T2","ATIVO",28.47]
["IPCS2A","PCS 2 AREAS EM CAIXA C/ TAMPA","5607353138340",1,"T2","ATIVO",30.93]
["IPCS4A","PCS 4 AREAS EM CAIXA COM PORTA","5607353138357",1,"T2","ATIVO",86.97]
["IPN1U12FF","PAINEL VAZIO 1U MAX 12 FICHAS TIPO FF","5607353138180",1,"T2","ATIVO",12.88]
["IPN1U12FO","PAINEL VAZIO 1U MAX 12 ADPT FO","5607353138173",1,"T2","ATIVO",12.88]
["IPN1U12RJ","PAINEL VAZIO 1U MAX 12 CNT RJ45","5607353138197",1,"T2","ATIVO",12.88]
["IPN1U20RJ","PAINEL VAZIO 19\" 1U MAX 20 CNT RJ45","5607353138227",1,"T2","ATIVO",14.8]
["IPN1U24FF","PAINEL VAZIO 19\" 1U MAX 24 FICHAS TIPO FF","5607353138210",1,"T2","ATIVO",14.8]
["IPN1U24FO","PAINEL VAZIO 19\" 1U MAX 24 ADPT FO","5607353138203",1,"T2","ATIVO",14.8]
["IPN1URG4V","PAINEL VAZIO 1U 4RJ 4FF 4FO","5607353138234",1,"T2","ATIVO",12.88]
["IPN1URG8V","PAINEL VAZIO 19” 1U 8RJ 8FF 8FO","5607353138241",1,"T2","ATIVO",14.8]
["IPNRG8V","PAINEL VAZIO MAX 8RJ 8FF 8FO","5607353138258",1,"T2","ATIVO",13.25]
["IPTI","PTI EM CAIXA COM TAMPA","5607353138333",1,"T2","ATIVO",16.53]
["IPTI.KIT","KIT PTI P/ APLICAR C/ PARAFUSO DE APERTO","5607353138869",1,"T2","ATIVO",12.18]
["IPTIC.KIT","KIT PTI P/ APLICAR EM CALHA DIN","5607353138876",1,"T2","ATIVO",21.84]
["IREP2V","REPARTIDOR 2 VIAS","5607353138883",1,"T2","ATIVO",4.24]
["IREP3V","REPARTIDOR 3 VIAS","5607353138890",1,"T2","ATIVO",5.57]
["IREP4V","REPARTIDOR 4 VIAS","5607353138906",1,"T2","ATIVO",5.73]
["IREP6V","REPARTIDOR 6 VIAS","5607353138913",1,"T2","ATIVO",8.89]
["IREP8V","REPARTIDOR 8 VIAS","5607353138920",1,"T2","ATIVO",11.51]
["IRJ45","CONECTOR RJ45 CAT6","5607353138937",1,"T2","ATIVO",1.1698]
["IRJ45B","CONECTOR RJ45 CAT6 BLINDADO","5607353138944",1,"T2","ATIVO",3.55]
["IS315","CX COM TAMPA CEGA TELECOMUNICAÇÕES","5607353137282",1,"T2","ATIVO",6.9]
["IS320","CX COM TAMPA CEGA TELECOMUNICAÇÕES","5607353137299",1,"T2","ATIVO",11.38]
["IS325","CAIXA VAZIA SAL P/ TELECOMUNICAÇÕES S325 BRC","5607353138951",1,"T2","ATIVO",19.489999999999998]
["ISEAT","CX VAZIA SE P/ COLOCAÇÃO ELEMENTOS ACTIVOS BRC","5607353139057",1,"T2","ATIVO",36.840000000000003]
["ISM2AT","CX VAZIA MEGA M2 SAL P/ ELEMENTOS ACTIVOS BRC","5607353137756",1,"T2","ATIVO",75.58]
["ISM2R12PC12CC","ATI M2 SAL REG P/ SAÍDAS 12PC 12CC 2FO BRC","5607353137398",1,"T2","ATIVO",300.48]
["ISM2R12PC8CC","ATI M2 SAL REG P/ SAÍDAS 12PC 8CC 2FO BRC","5607353137381",1,"T2","ATIVO",262.58999999999997]
["ISM2R4PC4CC","ATI M2 SAL REG P/ SAÍDAS 4PC 4CC 2FO BRC","5607353138982",1,"T2","ATIVO",222.78]
["ISM2R6PC4CC","ATI M2 SAL REG P/ SAÍDAS 6PC 4CC 2FO BRC","5607353137350",1,"T2","ATIVO",228.53]
["ISM2R6PC6CC","ATI M2 SAL REG P/ SAÍDAS 6PC 6CC 2FO BRC","5607353137367",1,"T2","ATIVO",235.42]
["ISM2R8PC8CC","ATI M2 SAL REG P/ SAÍDAS 8PC 8CC 2FO BRC","5607353137374",1,"T2","ATIVO",249.58]
["ISM3AT","CX VAZIA MEGA M3 SAL P/ ELEMENTOS ACTIVOS BRC","5607353137763",1,"T2","ATIVO",97.8]
["ISM3R12PC12CC","ATI M3 SAL REG P/ SAÍDAS 12PC 12CC 2FO BRC","5607353137435",1,"T2","ATIVO",336.09]
["ISM3R12PC8CC","ATI M3 SAL REG P/ SAÍDAS 12PC 8CC 2FO BRC","5607353137428",1,"T2","ATIVO",298.18]
["ISM3R16PC16CC","ATI M3 SAL REG P/ SAÍDAS 16PC 16CC 2FO BRC","5607353137442",1,"T2","ATIVO",437.9]
["ISM3R24PC24CC","ATI M3 SAL REG P/ SAÍDAS 24PC 24CC 2FO BRC","5607353137459",1,"T2","ATIVO",540.87]
["ISM3R6PC6CC","ATI M3 SAL REG P/ SAÍDAS 6PC 6CC 2FO BRC","5607353137404",1,"T2","ATIVO",269.10000000000002]
["ISM3R8PC8CC","ATI M3 SAL REG P/ SAÍDAS 8PC 8CC 2FO BRC","5607353137411",1,"T2","ATIVO",285.18]
["ISMV0CC","CAIXA TELECOMUNICAÇÕES TIPO C1 SAL","5607353138265",1,"T2","ATIVO",61.44]
["ISMV1ATE","CAIXA ATE SUPERIOR V1 SAL FECH RITA","5607353137985",1,"T2","ATIVO",82.12]
["ISMV1CC","CAIXA COLUNA TIPO C2 SAL","5607353138272",1,"T2","ATIVO",64.819999999999993]
["ISMV1CC2","CAIXA COLUNA SAL TIPO C2 PROF 200","5607353138289",1,"T2","ATIVO",70.75]
["ISMV2ATE","CAIXA ATE V2 SAL FECH RITA","5607353139019",1,"T2","ATIVO",108.86]
["ISMV3ATE","CAIXA ATE V3 SAL FECH RITA","5607353137992",1,"T2","ATIVO",170.55]
["ISMV4ATE","CAIXA ATE V4 SAL FECH RITA","5607353138005",1,"T2","ATIVO",188.26]
["ISPCS2A","PCS 2 AREAS EM CAIXA SAL C/ TAMPA","5607353138371",1,"T2","ATIVO",37.049999999999997]
["ISPCS4A","PCS 4 AREAS EM CAIXA SAL COM PORTA","5607353138388",1,"T2","ATIVO",99.45]
["ISPTI","PTI EM CAIXA COM TAMPA SAL","5607353138364",1,"T2","ATIVO",21.09]
["ITC","ETIQUETA IDENTIFICACAO CARACTERISTICAS","5607353015641",1,"T2","ATIVO",1.74]
["KC4M","CALHA METALICA 4 MÓD","5607353006045",1,"T1","ATIVO",1.43]
["KC8M","CALHA METALICA 8 MÓD","5607353012770",1,"T1","ATIVO",2.04]
["KFR","FECHADURA TIPO RITA  C/ 1 CHAVE","5607353133567",1,"T1","ATIVO",13.95]
["KFT","FECHADURA P/ CX KVCD/KVOTBI","5607353007844",1,"T1","ATIVO",4.46]
["KFTC1","FECHADURA P/ CAIXA KVC1","5607353012725",1,"T1","ATIVO",4.57]
["KFTKVOGH","FECHADURA P/ CAIXA KVOG/KVOH","5607353018338",1,"T1","ATIVO",12.48]
["KPBNT00","BASE NEUTRO SECCIONAVEL T00","5607353160501",1,"T1","ATIVO",12.98]
["KPDBR","DOBRADIÇA GAMA KVOP","5607353163779",1,"T1","ATIVO",2.97]
["KPISF00","BASE ISF BUC-00","5607353160518",1,"T1","ATIVO",15.55]
["KPPL","PLATINE GAMA KVOP","5607353160464",1,"T1","ATIVO",15.1]
["KPPO","PORTA OPACA GAMA KVOP","5607353160471",1,"T1","ATIVO",17.07]
["KPPOFC","PORTA OPACA COM FECHADURA GAMA KVOP","5607353160488",1,"T1","ATIVO",22.01]
["KPPRF","SACO PARAFUSOS GAMA KVOP","5607353160495",1,"T1","ATIVO",10.63]
["KPPSD","SACO PARAFUSOS E BUCINS GAMA KVOP","5607353163762",1,"T1","ATIVO",15.01]
["KPS1","PARAFUSO DE SELAGEM - 4 UN","5607353006038",1,"T1","ATIVO",6.2]
["KPSL","ACESSORIO SELAGEM PORTINHOLA KVOP","5607353163786",1,"T1","ATIVO",1.87]
["KRM","RESPIRO METALICO - 2 UN","5607353006021",1,"T1","ATIVO",4.37]
["KVAH20","MARCO P/ CONTADOR DE AGUA C/ JAN","5607353002443",1,"T1","ATIVO",34.07]
["KVAH20CHV","CHAVE P/ FECHADURA KVAH20 CZT","5607353018369",1,"T1","ATIVO",2.37]
["KVC1","CAIXA P/ REDES ITED/CEMU","5607353012039",1,"T1","SOB CONSULTA",40.15]
["KVC1PLT","PLATINE P/ CAIXA KVC1","5607353012732",1,"T1","ATIVO",14.91]
["KVCAM","CX ACESSO MULTIOPERADOR PREP FECH STD TIPO ITED","5607353137312",1,"T1","ATIVO",28.64]
["KVCAMFCPO","PORTA OPACA C/ FECH TRIANG P/ KVCAM","5607353139026",1,"T1","ATIVO",23.63]
["KVCAMPL","PLATINE P/ KVCAM","5607353137336",1,"T1","ATIVO",14.91]
["KVCAMPO","PORTA OPACA P/ KVCAM","5607353137343",1,"T1","ATIVO",19.329999999999998]
["KVCAMPRF","SACO C/ PARAFUSOS P/ KVCAM","5607353138968",1,"T1","ATIVO",2.48]
["KVCDFC","CAIXA PORTINHOLA C/ FECHADURA CZT","5607353007813",1,"T1","ATIVO",32.82]
["KVCDFCPO","PORTA C/ FECHADURA P/ CAIXA KVCD","5607353012169",1,"T1","ATIVO",20.010000000000002]
["KVOG","CAIXA P/ CONTADOR GÁS CZT","5607353008797",1,"T1","ATIVO",51.83]
["KVOGCX","CAIXA P/ KVOG","5607353018284",1,"T1","ATIVO",47.39]
["KVOGDBR","KIT DOBRADICAS P/ CAIXA KVOG","5607353013180",1,"T1","ATIVO",10.58]
["KVOGPO","PORTA OPACA P/ CAIXA KVOG","5607353018154",1,"T1","ATIVO",37.65]
["KVOH","CAIXA P/ CONTADOR ÁGUA CZT","5607353008803",1,"T1","ATIVO",37.68]
["KVOHPO","PORTA OPACA P/ CAIXA KVOH","5607353018147",1,"T1","ATIVO",26.06]
["KVOM","CX CONTADOR MONOFÁSICO C/ VISOR CZT","5607353005796",1,"T1","SOB CONSULTA",37.79]
["KVOM2311","CX CONTADOR MONOFÁSICO C/ VISOR 23x11 CZT","5607353020102",1,"T1","SOB CONSULTA",39.28]
["KVOM2311VSR","VISOR P/ CX CONTADOR IP65 23x11 CZT","5607353028887",1,"T1","SOB CONSULTA",11.8]
["KVOMCX","CAIXA P/ KVOM","5607353008117",1,"T1","ATIVO",32.81]
["KVOMP","PAINEL P/ CX KVOM","5607353007707",1,"T1","ATIVO",24.03]
["KVOMP2311","PAINEL P/ KVOM 23x11","5607353019540",1,"T1","ATIVO",31.26]
["KVOMPL","PLATINE P/ CX KVOM","5607353007097",1,"T1","ATIVO",6.37]
["KVOMPRF","SACO PARAFUSOS P/ KVOM","5607353015016",1,"T1","ATIVO",12.48]
["KVOMVSR","VISOR P/ CAIXA KVOM","5607353013166",1,"T1","ATIVO",9.16]
["KVOP","CAIXA PORTINHOLA VAZIA SEM FECHADURA","5607353157600",1,"T1","SOB CONSULTA"]
["KVOPFC","CAIXA PORTINHOLA VAZIA COM FECHADURA TRIANGULAR","5607353160457",1,"T1","SOB CONSULTA"]
["KVOPM","CAIXA PORTINHOLA EQUIPADA MONOFASICA","5607353157617",1,"T1","ATIVO",74.16]
["KVOPT","CAIXA PORTINHOLA EQUIPADA TRIFASICA","5607353157624",1,"T1","ATIVO",110]
["KVOTBOX","CAIXA CONTADOR P/ EDP BOX","5607353114832",1,"T1","ATIVO",61.54]
["KVOTBOXDBD","DOBRADIÇA P/ KVOTBOX","5607353114825",1,"T1","ATIVO",2.2999999999999998]
["KVOTBOXPL","PLATINE P/ KVOTBOX","5607353114795",1,"T1","ATIVO",29.82]
["KVOTBOXPO","PORTA OPACA P/ KVOTBOX","5607353114801",1,"T1","ATIVO",32.39]
["KVOTBOXPRF","SACO PARAFUSOS P/ KVOTBOX","5607353114818",1,"T1","ATIVO",10.07]
["KVOTBOXPSD","SACO PARAFUSOS BUCINS KVOTBOX","5607353135950",1,"T1","ATIVO",14.5]
["KVOTK","KIT TRANSFORMAÇÃO KVOT EM KVOTBOX","5607353124725",1,"T1","ATIVO",40.619999999999997]
["L14F","LIGADOR 14 FUROS - 14 x 10 mm²","5607353002603",10,"T2","ATIVO",3.39]
["L16F","LIGADOR 16 FUROS - 16 x 10 mm²","5607353002610",10,"T2","ATIVO",4.1500000000000004]
["L16FW","LIGADOR 16x16mm","5607353173860",1,"T2","ATIVO",4.38]
["L1MT135","LIGADOR 1 MT 135 FUROS 16 mm²","5607353100637",1,"T2","ATIVO",43.82]
["L6F","LIGADOR 6 FUROS - 6 x 10 mm²","5607353003242",10,"T2","ATIVO",2.21]
["L7FW","LIGADOR 7x16mm","5607353173846",1,"T2","ATIVO",2.42]
["L8F","LIGADOR 8 FUROS - 8 x 10 mm²","5607353002597",10,"T2","ATIVO",2.48]
["L8FW","LIGADOR 8x16mm","5607353173853",1,"T2","ATIVO",2.72]
["M1CD.KIT","KIT PLATINE E CALHA P/ CAIXA COLUNA M1","5607353097388",1,"T2","SOB CONSULTA",16.739999999999998]
["M1CD1S.KIT","KIT P/ CAIXA COLUNA M1 1 SAÍDA 22x58","5607353097371",1,"T2","SOB CONSULTA",133.86000000000001]
["M1CD1SNH.KIT","KIT P/ CAIXA COLUNA M1 1 SAIDA NH00","5607353097678",1,"T2","SOB CONSULTA",83.67]
["M1CD1SR.KIT","KIT P/ CAIXA COLUNA M1 1 SAIDA 14X51","5607353097265",1,"T2","SOB CONSULTA",104.57]
["M1CDCX","CAIXA COLUNA VAZIA M1 P/ 1 SAIDA","5607353097364",1,"T2","SOB CONSULTA",71.13]
["M218D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 2F 18M BRC","5607353052813",1,"T2","SOB CONSULTA",72.58]
["M234","QDR DIST PAR EMB. MEGA IP54 PT. OPC 2F 34M BRC","5607353025930",1,"T2","ATIVO",67.69]
["M234A","ARO COMPLETO P/ QDR MEGA M234 BRC","5607353026128",1,"T2","ATIVO",21.49]
["M234CHS","CHASSI 2F P/ QDR M234","5607353026241",1,"T2","ATIVO",9.18]
["M234PO","PORTA OPACA P/ QDR MEGA M234","5607353026807",1,"T2","ATIVO",57.49]
["M2CD.KIT","KIT PLATINE E 4 CALHAS P/ CAIXA COLUNA M2","5607353097432",1,"T2","SOB CONSULTA",32.08]
["M2CD1S.KIT","KIT P/ CAIXA COLUNA M2 1 SAÍDA 22x58","5607353097401",1,"T2","SOB CONSULTA",128.28]
["M2CD1SNH.KIT","KIT P/ CAIXA COLUNA M2 1 SAÍDA NH00","5607353097685",1,"T2","SOB CONSULTA",92.2]
["M2CD1SR.KIT","KIT P/ CAIXA COLUNA M2 1 SAÍDA 14x51","5607353097272",1,"T2","SOB CONSULTA",116.27]
["M2CD2S.KIT","KIT P/ CAIXA COLUNA M2 2 SAÍDAS 22x58","5607353097418",1,"T2","SOB CONSULTA",176.38]
["M2CD2SNH.KIT","KIT P/ CAIXA COLUNA M2 2 SAÍDAS NH00","5607353097692",1,"T2","SOB CONSULTA",128.28]
["M2CD2SR.KIT","KIT P/ CAIXA COLUNA M2 2 SAÍDAS 14x51","5607353097289",1,"T2","SOB CONSULTA",152.32]
["M2CD3S.KIT","KIT P/ CAIXA COLUNA M2 3 SAÍDAS 22x58","5607353097425",1,"T2","SOB CONSULTA",224.49]
["M2CD3SNH.KIT","KIT P/ CAIXA COLUNA M2 3 SAÍDAS NH00","5607353097708",1,"T2","SOB CONSULTA",164.37]
["M2CD3SR.KIT","KIT P/ CAIXA COLUNA M2 3 SAÍDAS 14x51","5607353097296",1,"T2","SOB CONSULTA",188.4]
["M2CD4S.KIT","KIT P/ CAIXA COLUNA M2 4 SAÍDAS 22x58","5607353097067",1,"T2","SOB CONSULTA",272.58999999999997]
["M2CD4SNH.KIT","KIT P/ CAIXA COLUNA M2 4 SAÍDAS NH00","5607353097715",1,"T2","SOB CONSULTA",200.42]
["M2CD4SR.KIT","KIT P/ CAIXA COLUNA M2 4 SAÍDAS 14x51","5607353097302",1,"T2","SOB CONSULTA",224.49]
["M2CDCX","CAIXA COLUNA VAZIA M2 P/ ATÉ 4 SAÍDAS","5607353097395",1,"T2","SOB CONSULTA",92.2]
["M335D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 3F 35M BRC","5607353026791",1,"T2","SOB CONSULTA",94.54]
["M335DCHS","CHASSI 1F 17M P/ QDR M335D","5607353026326",1,"T2","SOB CONSULTA",6.55]
["M351","QDR DIST PAR EMB. MEGA IP54 PT. OPC 3F 51M BRC","5607353025947",1,"T2","ATIVO",90.6]
["M351335DA","ARO COMPLETO P/ QDR MEGA M351/M335D BRC","5607353026135",1,"T2","ATIVO",23.52]
["M351335DPO","PORTA OPACA P/ QDR MEGA M351/M335D BRC","5607353026067",1,"T2","ATIVO",67.2]
["M351CHS","CHASSI 3F P/ QDR M351","5607353026258",1,"T2","ATIVO",11.02]
["M452D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 4F 52M BRC","5607353026012",1,"T2","SOB CONSULTA",105.86]
["M452DCHS","CHASSI 2F 17M P/ QDR M452D","5607353026333",1,"T2","SOB CONSULTA",9.18]
["M468","QDR DIST PAR EMB. MEGA IP54 PT. OPC 4F 68M BRC","5607353025954",1,"T2","ATIVO",96.07]
["M468452DA","ARO COMPLETO P/ QDR MEGA M468/M452D BRC","5607353026142",1,"T2","ATIVO",27.16]
["M468452DPO","PORTA OPACA P/ QDR MEGA M468/M452D BRC","5607353026074",1,"T2","ATIVO",83.64]
["M468CHS","CHASSI 4F P/ QDR M468","5607353026265",1,"T2","ATIVO",12.86]
["M569D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 5F 69M BRC","5607353026029",1,"T2","SOB CONSULTA",123.9]
["M569DCHS","CHASSI 3F 17M P/ QDR M569D","5607353026340",1,"T2","SOB CONSULTA",11.02]
["M585","QDR DIST PAR EMB. MEGA IP54 PT. OPC 5F 85M BRC","5607353025961",1,"T2","ATIVO",119.25]
["M585569DA","ARO COMPLETO P/ QDR MEGA M585/M569D BRC","5607353026159",1,"T2","ATIVO",30.84]
["M585569DPO","PORTA OPACA P/ QDR MEGA M585/M569D BRC","5607353026081",1,"T2","ATIVO",94.07]
["M585CHS","CHASSI 5F P/ QDR M585","5607353026272",1,"T2","ATIVO",14.07]
["M6102","QDR DIST PAR EMB. MEGA IP54 PT. OPC 6F 102M BRC","5607353025978",1,"T2","ATIVO",135.43]
["M6102686DA","ARO COMPLETO P/ QDR MEGA M6102/M686D BRC","5607353026166",1,"T2","ATIVO",33.96]
["M6102686DPO","PORTA OPACA P/ QDR MEGA M6102/M686D BRC","5607353026098",1,"T2","ATIVO",104.5]
["M6102CHS","CHASSI 6F P/ QDR M6102","5607353026289",1,"T2","ATIVO",16.22]
["M686D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 6F 86M BRC","5607353026036",1,"T2","SOB CONSULTA",140.22999999999999]
["M686DCHS","CHASSI 4F 17M P/ QDR M686D","5607353026357",1,"T2","SOB CONSULTA",12.86]
["M7103D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 7F 103M BRC","5607353026043",1,"T2","SOB CONSULTA",159.26]
["M7103DCHS","CHASSI 5F 17M P/ QDR M7103D","5607353026364",1,"T2","SOB CONSULTA",14.07]
["M7119","QDR DIST PAR EMB. MEGA IP54 PT. OPC 7F 119M BRC","5607353025985",1,"T2","ATIVO",154.24]
["M71197103DA","ARO COMPLETO P/ QDR MEGA M7119/M7103D BRC","5607353026173",1,"T2","ATIVO",37.130000000000003]
["M71197103DPO","PORTA OPACA P/ QDR MEGA M7119/M7103D BRC","5607353026104",1,"T2","ATIVO",109.74]
["M7119CHS","CHASSI 7F P/ QDR M7119","5607353026296",1,"T2","ATIVO",18.84]
["M8120D","QDR DIST DIF EDP EMB MEGA IP54 PT OPC 8F 120M BRC","5607353026050",1,"T2","SOB CONSULTA",176.93]
["M8120DCHS","CHASSI 6F 17M P/ QDR M8120D","5607353026371",1,"T2","SOB CONSULTA",16.22]
["M8136","QDR DIST PAR EMB. MEGA IP54 PT. OPC 8F 136M BRC","5607353025992",1,"T2","ATIVO",173.38]
["M81368120DA","ARO COMPLETO P/ QDR MEGA M8136/M8120D BRC","5607353026180",1,"T2","ATIVO",42.87]
["M81368120DPO","PORTA OPACA P/ QDR MEGA M8136/M8120D BRC","5607353026111",1,"T2","ATIVO",120.17]
["M8136CHS","CHASSI 8F P/ QDR M8136","5607353026302",1,"T2","ATIVO",22.48]
["MAFX","APOIO SUPORTE FIXCONNECT - 2 UN","5607353026425",1,"T2","ATIVO",2.39]
["MAPSL","APOIO SUPORTE LIGADOR","5607353026418",1,"T2","ATIVO",3.42]
["MD9MCHS","CHASSI 2F 9M DIFERENCIAL","5607353026319",1,"T2","SOB CONSULTA",7.58]
["MDBR","DOBRADIÇAS PORTA","5607353026470",1,"T2","ATIVO",0.48]
["MDMPNDF","PAINEL P/ DIF EDP C/ SELAGEM","5607353026197",1,"T2","ATIVO",5.13]
["METI17","ETIQUETA CIRCUITOS 17 MÓDULOS","5607353026494",1,"T2","ATIVO",0.79]
["METI9","ETIQUETA CIRCUITOS 9 MÓDULOS","5607353026487",1,"T2","ATIVO",0.48]
["MFC","FECHO C/ CHAVE","5607353026456",1,"T2","ATIVO",39.19]
["MFC12","CONJUNTO APOIO + 1 LIGADOR RÁPIDO C/ SUPORTE","5607353027125",1,"T2","ATIVO",18.579999999999998]
["MFC24","CONJUNTO APOIO + 2 LIGADORES RÁPIDOS C/ SUPORTE","5607353026838",1,"T2","ATIVO",36.700000000000003]
["MFKIT","KIT SUPORTE FECHOS (TRIANG/CHAVE)","5607353026463",1,"T2","ATIVO",1.65]
["MFR","FECHO ROTATIVO","5607353026432",1,"T2","ATIVO",4.74]
["MFRS","FECHO ROTATIVO P/ SM","5607353104215",1,"T2","ATIVO",4.28]
["MFT","FECHO TRIANGULAR","5607353026449",1,"T2","ATIVO",4.87]
["MI17MPN","PAINEL INTERMÉDIO 17 MÓD","5607353026227",1,"T2","ATIVO",5.4]
["MI9MPN","PAINEL INTERMÉDIO 9 MÓD","5607353026203",1,"T2","ATIVO",5.12]
["MSD","SEPARADOR DIFERENCIAL P/ QDR MEGA","5607353026234",1,"T2","ATIVO",6.19]
["MT17MPN","PAINEL TOPO 17 MÓD","5607353026814",1,"T2","ATIVO",5.91]
["MT9MPN","PAINEL TOPO 9 MÓD","5607353026210",1,"T2","ATIVO",5.48]
["MUNIL","KIT UNIÃO DE MÓDULOS LATERAL","5607353026821",1,"T2","ATIVO",6.75]
["MUNIT","KIT UNIÃO DE MÓDULOS TOPO","5607353027057",1,"T2","ATIVO",7.39]
["P104SL","QDR ICP IP40 SL PT OPC 1F 4M BRC","5607353001804",1,"T2","ATIVO",6.97]
["P114CL","QDR ICP IP40 CL PT OPC 1F 14M BRC","5607353001873",1,"T2","ATIVO",14.86]
["PL50","PLATINA P/ DISJUNTOR EDP CZT","5607353001910",1,"T2","ATIVO",10.83]
["PL51","PLATINA P/ DISJUNTOR EDP BRC","5607353003136",1,"T2","ATIVO",10.83]
["PT104SL","QDR ICP IP40 SL PT TRP 1F 4M BRC","5607353001811",1,"T2","ATIVO",8.08]
["PT114CL","QDR ICP IP40 CL PT TRP 1F 14M BRC","5607353001941",1,"T2","ATIVO",17.61]
["R4CX","REGUA CAIXAS PLADUR R4CX PACK 20UN","5607353179800",1,"T2","ATIVO",45.33]
["R7CX","REGUA CAIXAS PLADUR R7CX PACK 20UN","5607353179817",1,"T2","ATIVO",54.39]
["RATI12","REPARTIDOR CABO COAXIAL 12 SAIDAS  5 A 2400 Mhz","5607353135820",1,"T2","ATIVO",26.72]
["RATI4","REPARTIDOR CABO COAXIAL 4 SAIDAS  5 A 2400 Mhz","5607353135790",1,"T2","ATIVO",8.14]
["RATI6","REPARTIDOR CABO COAXIAL 6 SAIDAS  5 A 2400 Mhz","5607353135806",1,"T2","ATIVO",9.31]
["RATI8","REPARTIDOR CABO COAXIAL 8 SAIDAS  5 A 2400 Mhz","5607353135813",1,"T2","ATIVO",11.23]
["S 104","QDR DIST PAR SAL 1F 4M BRC","5607353001996",1,"T2","ATIVO",4.42]
["S 108","QDR DIST PAR SAL 1F 8M BRC","5607353002009",1,"T2","ATIVO",8.91]
["S 112","QDR DIST PAR SAL 1F 12M BRC","5607353002016",1,"T2","ATIVO",15.85]
["S 224","QDR DIST PAR SAL 2F 24M BRC","5607353002047",1,"T2","ATIVO",23.02]
["S 336","QDR DIST PAR SAL 3F 36M BRC","5607353002085",1,"T2","ATIVO",42.04]
["S100BRC","CAIXA DERIVAÇÃO SAL IP55 S100 BRC","5607353005871",6,"T2","ATIVO",2.6]
["S100CRM","CAIXA DERIVAÇÃO SAL IP55 S100 CRM","5607353006007",6,"T2","ATIVO",2.6]
["S100CZT","CAIXA DERIVAÇÃO SAL IP55 S100 CZT","5607353005864",6,"T2","ATIVO",2.6]
["S100PLBRC","CAIXA DERIVAÇÃO SAL IP55 S100 PL BRC","5607353103119",6,"T2","ATIVO",2.37]
["S118","QDR DIST SAL. IP30 PT OPC 3F 18M BRC","5607353002030",1,"T2","ATIVO",32.130000000000003]
["S200BRC","CAIXA DERIVAÇÃO SAL IP55 S200 BRC","5607353103157",1,"T2","ATIVO",9.6999999999999993]
["S200CRM","CAIXA DERIVAÇÃO SAL IP55 S200 CRM","5607353103164",1,"T2","ATIVO",9.6999999999999993]
["S200CZT","CAIXA DERIVAÇÃO SAL IP55 S200 CZT","5607353103133",1,"T2","ATIVO",9.6999999999999993]
["S81BRC","CAIXA DERIVAÇÃO SAL IP55 S81 BRC","5607353102969",12,"T2","ATIVO",1.46]
["S81CRM","CAIXA DERIVAÇÃO SAL IP55 S81 CRM","5607353012343",12,"T2","ATIVO",1.46]
["S81CZT","CAIXA DERIVAÇÃO SAL IP55 S81 CZT","5607353012336",12,"T2","ATIVO",1.46]
["SBT125","SUPORTE BASE TERRA 35mm² 125 A","5607353003303",20,"T2","ATIVO",4.24]
["SBT160","SUPORTE BASE TERRA 65 mm² 160A","5607353012008",20,"T2","ATIVO",4.67]
["SBTT5","SUPORTE BASE TERRA P/ 56200T5","5607353018475",1,"T2","ATIVO",8.4700000000000006]
["SBTT5+5","SUPORTE BASE TERRA CAIXA 56200T5+5","5607353104222",1,"T2","ATIVO",11.98]
["SCP10M","CALHA PLASTICA 10M","5607353104185",1,"T2","ATIVO",0.63]
["SCP8M","CALHA PLASTICA 8M","5607353104178",1,"T2","ATIVO",0.32]
["SCS","KIT TAMPAS DE VEDAÇÃO","5607353104208",1,"T2","ATIVO",0.79]
["SD20BRC","BUCIM BRANCO","5607353104123",20,"T2","ATIVO",0.27]
["SD20CRM","BUCIM CREME","5607353003730",20,"T2","ATIVO",0.27]
["SD20CZT","BUCIM CINZENTO","5607353003631",20,"T2","ATIVO",0.27]
["SD25BRC","BUCIM S100/200 BRC","5607353104147",20,"T2","ATIVO",0.36]
["SD25CRM","BUCIM S100/200 CRM","5607353104154",20,"T2","ATIVO",0.36]
["SD25CZT","BUCIM S100/200 CZT","5607353097197",20,"T2","ATIVO",0.36]
["SEATIBT","INTERRUPTOR P/ RESET ELEMENTO ACTIVO","5607353020621",1,"T2","ATIVO",8.48]
["SFC12","CONJUNTO APOIO + 1 LIGADOR RÁPIDO C/ SUPORTE","5607353101290",1,"T2","ATIVO",18.579999999999998]
["SFC24","CONJUNTO APOIO + 2 LIGADORES RÁPIDOS C/ SUPORTE","5607353101306",1,"T2","ATIVO",36.799999999999997]
["SL16N","LIGADOR NEUTRO 16 FUROS DIÂM 16 mm","5607353026845",1,"T2","ATIVO",6.71]
["SL16N16T","SUPORTE DE LIGADORES 16N+16T","5607353092253",1,"T2","ATIVO",10.37]
["SL16T","LIGADOR TERRA 16 FUROS DIÂM 16 mm","5607353026852",1,"T2","ATIVO",6.71]
["SL32N","LIGADOR NEUTRO 32 FUROS DIÂM 16 mm","5607353026869",1,"T2","ATIVO",9.9700000000000006]
["SL32T","LIGADOR TERRA 32 FUROS DIÂM 16 mm","5607353026876",1,"T2","ATIVO",9.9700000000000006]
["SL7N8N16N","SUPORTE LIGADOR 7N 8N 16N","5607353173839",1,"T2","ATIVO",11.48]
["SL7N8N16T","SUPORTE LIGADOR 7N+8N+16T","5607353173822",1,"T2","ATIVO",11.48]
["SL8F8","SUPORTE DE LIGADORES P/8M 2x8 FUROS","5607353098231",1,"T2","ATIVO",7.02]
["SL8N8T","SUPORTE DE LIGADORES 8N+8T","5607353101276",1,"T2","ATIVO",8.49]
["SLG16F","SUP LIGADORES GRD 16 FUROS","5607353003211",10,"T2","ATIVO",10.27]
["SLG6F","SUP LIGADORES GRD 6 FUROS","5607353003198",10,"T2","ATIVO",5.76]
["SLG8F","SUP LIGADORES GRD 8 FUROS","5607353003167",10,"T2","ATIVO",6.57]
["SLP6F","SUP LIGADORES PEQ. 6 FUROS","5607353003143",1,"T2","ATIVO",5.74]
["SLP8F","SUP LIGADORES PEQ. 8 FUROS","5607353003150",1,"T2","ATIVO",6.27]
["SM218D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 2F 18M BRC","5607353090471",1,"T2","SOB CONSULTA",90.76]
["SM234","QDR DIST PAR SAL MEGA IP54 PT OPC 2F 34M BRC","5607353090488",1,"T2","ATIVO",82.98]
["SM2CD.KIT","KIT P/ CAIXA SM2 COLUNA S/ EQUIPAMENTO ATÉ 2 SAÍDAS","5607353104062",1,"T2","SOB CONSULTA",33.869999999999997]
["SM2CD1S.KIT","KIT P/ CAIXA M2 COLUNA SALIENTE 1 SAIDA 22X58","5607353103799",1,"T2","SOB CONSULTA",139.91999999999999]
["SM2CD1SNH.KIT","KIT P/ CAIXA M2 COLUNA SALIENTE 1 SAIDA NH00","5607353103737",1,"T2","SOB CONSULTA",100.25]
["SM2CD1SR.KIT","KIT P/ CAIXA M2 COLUNA SALIENTE 1 SAIDA 14X51","5607353103676",1,"T2","SOB CONSULTA",121.14]
["SM2CD2S.KIT","KIT P/ CAIXA M2 DE COLUNA SALIENTE 2 SAIDAS 22X58","5607353102570",1,"T2","SOB CONSULTA",189.31]
["SM2CD2SNH.KIT","KIT P/ CAIXA M2 COLUNA SALIENTE 2 SAIDAS NH00","5607353103744",1,"T2","SOB CONSULTA",137.85]
["SM2CD2SR.KIT","KIT P/ CAIXA M2 COLUNA SALIENTE 2 SAIDAS 14X51","5607353103683",1,"T2","SOB CONSULTA",162.91]
["SM2CDCX","CAIXA DE COLUNA ATÉ 2 SAIDAS SALIENTE","5607353102563",1,"T2","SOB CONSULTA",113.64]
["SM335D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 3F 35M BRC","5607353090501",1,"T2","SOB CONSULTA",113.96]
["SM351","QDR DIST PAR SAL MEGA IP54 PT OPC 3F 51M BRC","5607353090518",1,"T2","ATIVO",108.83]
["SM3CD.KIT","KIT P/ CAIXA SM3 COLUNA S/ EQUIPAMENTO ATÉ 4 SAÍDAS","5607353104079",1,"T2","SOB CONSULTA",43.88]
["SM3CD1S.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 1 SAIDA 22X58","5607353103812",1,"T2","SOB CONSULTA",144.13]
["SM3CD1SNH.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 1 SAIDA NH00","5607353103751",1,"T2","SOB CONSULTA",108.61]
["SM3CD1SR.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 1 SAIDA 14X51","5607353103690",1,"T2","SOB CONSULTA",133.66999999999999]
["SM3CD2S.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 2 SAIDAS 22X58","5607353103829",1,"T2","SOB CONSULTA",193.49]
["SM3CD2SNH.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 2 SAIDAS NH00","5607353103768",1,"T2","SOB CONSULTA",146.19999999999999]
["SM3CD2SR.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 2 SAIDAS 14X51","5607353103706",1,"T2","SOB CONSULTA",171.27]
["SM3CD3S.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 3 SAIDAS 22X58","5607353103836",1,"T2","SOB CONSULTA",244.39]
["SM3CD3SNH.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 3 SAIDAS NH00","5607353103775",1,"T2","SOB CONSULTA",183.8]
["SM3CD3SR.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 3 SAIDAS 14X51","5607353103713",1,"T2","SOB CONSULTA",208.86]
["SM3CD4S.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 4 SAIDAS 22X58","5607353103843",1,"T2","SOB CONSULTA",302.87]
["SM3CD4SNH.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 4 SAIDAS NH00","5607353103782",1,"T2","SOB CONSULTA",221.39]
["SM3CD4SR.KIT","KIT P/ CAIXA M3 COLUNA SALIENTE 4 SAIDAS 14X51","5607353103720",1,"T2","SOB CONSULTA",246.45]
["SM3CDCX","CAIXA DE COLUNA ATÉ 4 SAIDAS SALIENTE","5607353103805",1,"T2","SOB CONSULTA",150.35]
["SM452D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 4F 52M BRC","5607353090532",1,"T2","SOB CONSULTA",130.79]
["SM468","QDR DIST PAR SAL MEGA IP54 PT OPC 4F 68M BRC","5607353090549",1,"T2","ATIVO",120.04]
["SM569D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 5F 69M BRC","5607353090563",1,"T2","SOB CONSULTA",158.77000000000001]
["SM585","QDR DIST PAR SAL MEGA IP54 PT OPC 5F 85M BRC","5607353090570",1,"T2","ATIVO",153.63]
["SM6102","QDR DIST PAR SAL MEGA IP54 PT OPC 6F 102M BRC","5607353090594",1,"T2","ATIVO",175.61]
["SM686D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 6F 86M BRC","5607353090617",1,"T2","SOB CONSULTA",180.92]
["SM7103D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 7F 103M BRC","5607353090624",1,"T2","SOB CONSULTA",202.86]
["SM7119","QDR DIST PAR SAL MEGA IP54 PT OPC 7F 119M BRC","5607353090631",1,"T2","ATIVO",197.26]
["SM8120D","QDR DIST DIF EDP SAL MEGA IP54 PT OPC 8F 120M BRC","5607353090655",1,"T2","SOB CONSULTA",223.3]
["SM8136","QDR DIST SALIENTE MEGA IP54 PT OPC 8F 136M BRC","5607353090662",1,"T2","ATIVO",219.65]
["SMCBC","COBERTURA DE CABOS PARA QDR OU ATI SALIENTE","5607353090686",1,"T2","ATIVO",52.33]
["SMSPF","SUPORTE DE FIXAÇÃO SUP PARA QDR OU ATI SALIENTE","5607353090693",1,"T2","ATIVO",26.19]
["SP112","QDR DIST SAL SP PT OPC 1F 12M BRC","5607353005888",1,"T2","ATIVO",22.66]
["SP224","QDR DIST SAL SP PT OPC 2F 24M BRC","5607353005895",1,"T2","ATIVO",32.979999999999997]
["SP336","QDR DIST SAL SP PT OPC 3F 36M BRC","5607353005901",1,"T2","ATIVO",53.66]
["SPFC12","CONJUNTO APOIO + 1 LIGADOR RÁPIDO C/ SUPORTE","5607353027187",1,"T2","ATIVO",18.579999999999998]
["SPFC24","CONJUNTO APOIO + 2 LIGADORES RÁPIDOS C/ SUPORTE","5607353027170",1,"T2","ATIVO",36.74]
["SPSL16N16T","KIT ADICIONAL SUP LIG SP224/SPT224 SP336/SPT336","5607353100118",1,"T2","ATIVO",14.41]
["SPT112","QDR DIST SAL SP PT TRP 1F 12M BRC","5607353005918",1,"T2","ATIVO",25.7]
["SPT224","QDR DIST SAL SP PT TRP 2F 12M BRC","5607353005925",1,"T2","ATIVO",40.770000000000003]
["SPT336","QDR DIST SAL SP PT TRP 3F 36M BRC","5607353005932",1,"T2","ATIVO",64.180000000000007]
["ST118","QDR DIST SAL. IP30 PT TRP 3F 18M BRC","5607353002160",1,"T2","ATIVO",37.89]
["STM20","BUCIM CONICO IP55 M20","4012591771739",20,"T3","ATIVO",0.45]
["STM25","BUCIM CONICO IP55 M25","4012591771753",20,"T3","ATIVO",0.45]
["STM32","BUCIM CONICO IP55 M32","4012591771777",10,"T3","ATIVO",0.42]
["STM40","BUCIM CONICO IP55 M40","4012591771791",5,"T3","ATIVO",1.72]
["SUNI","KIT UNIÃO SERIE S","5607353104192",1,"T2","ATIVO",1.17]
["T2.6226","TOM. TERMINAL TV/FM-SAT ITED","5607353098095",1,"D3","ATIVO",4.01]
["TB042BR","BLOCO 2 TOMADAS 2P+T AP BRC","8691136117520",0,"D3","ATIVO",2.93]
["TB043BR","BLOCO 3 TOMADAS 2P+T AP BRC","8691136117926",0,"D3","ATIVO",3.74]
["TPS3","TAMPA VEDAÇÃO PARAFUSOS - 4 UN","5607353027026",1,"T2","ATIVO",0.52]
["Z-BOXM","POSTO CARREGAMENTO MONOFASICO VEICULOS ELECTRICOS","5607353169528",1,"T4","ATIVO",480]
["Z-BOXPT","POSTO CARREGAMENTO PORTATIL VE MAX 22kW","5607353179473",1,"T4","ATIVO",715]
["Z-BOXT","POSTO CARREGAMENTO TRIFASICO VEICULOS ELECTRICOS","5607353169535",1,"T4","ATIVO",578]
["Z-BOXTDOCPP","POSTO CARREGAMENTO DUPLO TRIFASICO OCPP VE SEM CABOS","5607353172078",1,"T4","ATIVO",1675]
["Z-BOXTOCPP","POSTO CARREGAMENTO TRIFASICO OCPP VE SEM CABOS","5607353182220",1,"T4","ATIVO",690]
["Z-BOXTOCPP5C","POSTO CARREGAMENTO TRIFASICO OCPP VE COM CABO 5M","5607353182435",1,"T4","ATIVO",776]
["Z-CF2PT","CABO + FICHA CEE 2P+T 32A","5607353182046",1,"T4","ATIVO",51.5]
["Z-CF5P32","CABO + FICHA CEE 5P 32A","5607353182053",1,"T4","ATIVO",57.5]
["Z-CFS","CABO + FICHA SCHUKO","5607353182039",1,"T4","ATIVO",42.75]
["Z-CT2325","CABO CARREGAMENTO TRIFASICO TIPO2 32A 5MTS","5607353172085",1,"T4","ATIVO",172]
["Z-CT2328","CABO CARREGAMENTO TRIFASICO TIPO2 32A 8MTS","5607353182237",1,"T4","ATIVO",215]
["Z-DLB01","BALANCEADOR DINAMICO CARGAS MONOFASICO (1TI)","5607353170739",1,"T4","ATIVO",158]
["Z-DLB03","BALANCEADOR DINAMICO CARGAS TRIFASICO (3TI)","5607353170746",1,"T4","ATIVO",195]
["Z-DLB11","BALANCEADOR DINAMICO CARGAS MONOFASICO C/ GESTAO PV (2TI)","5607353170753",1,"T4","ATIVO",186]
["Z-DLB13","BALANCEADOR DINAMICO CARGAS TRIFASICO C/ GESTAO PV (6TI)","5607353170760",1,"T4","ATIVO",220]
["Z-DLBWIFI","MÓDULO WIFI PARA DLB","5607353182077",1,"T4","ATIVO",34]
["Z-DLBWIFIBOX","MÓDULO WIFI PARA CARREGADORES","5607353182084",1,"T4","ATIVO",34]
["Z-MC01","CENTRAL MONITORIZAÇÃO Z-BOX","5607353175369",1,"T4","ATIVO",1165]
["Z-PDT","PEDESTAL E PROTEÇAO P/ CARREGADORES Z-BOX PRT","5607353170609",1,"T4","ATIVO",250]
["Z-QPM1612","QUADRO MONOFASICO 3,6 KW","5607353179503",1,"T4","ATIVO",182.67]
["Z-QWM1612","QUADRO MONOFASICO 7,4 KW","5607353179510",1,"T4","ATIVO",332.35]
["Z-QWT2624","QUADRO TRIFASICO 22 KW","5607353179527",1,"T4","ATIVO",489.94]
["Z-SBPT","BASE EXTRA PARA FIXACAO CARREGADOR","5607353182244",1,"T4","ATIVO",22.8]
["Z-SPC","SUPORTE EXTRA PAREDE P/ENROLAR CABO","5607353182060",1,"T4","ATIVO",8.56]